# How to look after an Aerochamber Device

# How to look after an Aerochamber spacer device

# • Wash the spacer once every month and replace

# after one year.

# • Remove the rubber end from the spacer.

# • Prepare a bowl of room temperature water with some detergent.

# Place both rubber end and spacer in the bowl of water.

# • Leave to soak for 10 minutes. Rinse well with water.

# Leave to drip dry overnight.

# • Do not use any towels, tissues, sponges or anything abrasive

# to clean or dry your spacer device.

# • Do not rub the inside with a cloth or polish as this causes static

# build-up which can affect how the device works.

# • Aerochamber spacers are not suitable for dishwashers.

# • You can clean the mouthpiece with a moist tissue after each

# use if needed.