Inhaler Technique for Care Homes

Aim or Purpose

To support care home staff to provide high quality care for using inhalers for asthma or COPD residents. There are many different types of inhalers, which can be confusing. This guide gives information on the medicines inside inhalers, the types of inhaler device, and some general information about inhalers. It also highlights some of the issues to consider and signposts to currently available support and resources.

What are inhalers?

Inhaler devices are essentially chambers through which air is drawn.

The design of each device will have an impact on the flow of air through it, this is called the resistance.

This Represents how much “suck” a patient will need to apply to achieve good lung deposition.

Metered dose inhalers (MDIs) have a very low resistance, so require a low inspiratory flow (gentle breath).

Dry Powder inhalers (DPIs) have greater resistance and so require a higher inspiratory flow (deep, quick breath).

Inhaler choices

The relationship between inhaler choices and the climate is becoming increasingly important, as we work to lessen our environmental footprint and combat climate change (global warming).

Some inhalers use a propellant (gas) to carry the medicine into the lungs. These types of inhalers are called pressurised metered dose inhalers (pMDIs), you may be familiar with this more common device and have residents who use a Ventolin or a Salamol inhaler.

The propellants in pMDIs are powerful greenhouse gases, thousands of times more potent than carbon dioxide, and contribute to climate changes.

The good news is, there are other inhalers with a much lower-carbon footprints than pMDIs. For this reason, the NHS is encouraging professionals to provide people over the age of 12 the choice to switch to a lower carbon inhaler where clinically appropriate.

Inhalers with much lower-carbon footprints

- Dry powder inhalers (DPIs): These generally don’t rely on propellants; hence their carbon footprints are lower. They require patients to inhale quickly and deeply, this inhalation technique may not be suitable for everyone.

- Soft mist inhalers (SMIs): These use pressurised water vapour instead of propellants, resulting in lower carbon footprints. They require patients to inhale quickly and deeply.

Link below to instruction videos of how to use different inhaler devices.

How to use your inhaler | Asthma + Lung UK (asthmaandlung.org.uk) – Click to view video

| Metered Dose Inhalers(MDI) | Dry Powder Inhalers (DPI) |
| --- | --- |
| The standard MDI is the most widely used inhaler. However, many people do not use it to its best effect. | These require breathing in fairly hard to get the powder into the lungs • Examples include: Accuhalers, Clickhalers, Easyhalers, Novolizers, Turbohalers, Diskhalers and Twisthalers. • Each type has a slightly different method of use. Precise instructions are on patient information leaflets and ensure you are competent in its use before using on a resident |
| How to use a metered dose inhaler | How to use a breath-activated inhaler |
| 1. Remove cap and shake inhaler 2. Breathe out gently 3. Put mouthpiece in mouth and at start of inspiration, which should be slow and deep, press canister down and continue to inhale deeply 4. Hold breath for 10 seconds or as long as possible then breathe out slowly 5. Wait for a few seconds before repeating steps 2- 4 6. Common error to avoid: • Not shaking the inhaler before using it. • Inhaling too sharply or at the wrong time. • Not holding your breath long enough after breathing in the contents | 1.Remove protective mouthpiece and shake inhaler 2. Hold inhaler upright and push grey lever right up 3. Breathe out gently. Keep inhaler upright and put mouthpiece in mouth and close lips round it. (The air holes must not be blocked by the hand) 4. Breathe in steadily through mouth. Don't stop breathing when inhaler clicks - continue taking a really deep breath 5. Hold breath for about ten seconds. Breathe out gently 6. Wait several seconds before taking another inhalation N.B. The autohaler lever must be pushed up (on) before each dose, and pushed down again (off) afterwards, otherwise it will not operate. |

Spacer Devices

A spacer is usually a plastic container, with a mouthpiece at one end and a hole for the inhaler at the other. Spacers only work with a metered dose inhaler (such as Salamol, Ventolin)

Spacers are important because they:

• Help to deliver asthma medicine to the lungs.

• Allow more medicine into your lungs than when just using the inhaler on its own.

• Make metered dose inhalers easier to use and more effective.

• Help to reduce the possibility of side effects from the higher doses of preventer medicines by reducing the amount of medicine that is swallowed and absorbed into the body

• Are convenient and compact and work at least as well as nebulisers at treating most asthma attacks.

There are different types of spacers available. These include the Volumatic, Nebuhaler, Aerochamber, Able spacer, Space Chamber & Space Chamber Plus. The different brands of spacer fit different metered dose inhalers. Only use a spacer with the appropriate inhaler device

Handy Hints for Using a Spacer

• Care home staff should be appropriately trained on how to use an inhaler and spacer properly

• Ensure that the spacer prescribed fits the inhaler

• Advise patient to put one puff of the inhaler into the spacer

• If the resident finds it difficult to take deep breaths, breathing in and out of the mouthpiece several times for at least 10 seconds is just as good.

• Repeat the step above for each dose/puff needed and allow 30 seconds between each puff.

• Wash the spacer once a month - leave it to drip-dry as this helps to prevent the medicines sticking to the sides. Do not put through a dishwasher.

• Spacers should be replaced at least once each year, especially if it is used daily.