ACTION TO TAKE WHEN THE FRIDGE TEMPERATURE IS OUT OF RANGE

- INFORM CARE HOME MANAGER IMMEDIATLEY

- QUARANTINE AFFECTED STOCK – PLACE IN A BAG AND LABEL “NOT FOR USE”

- PLACE IN A SEPARATE FRIDGE WHILST ADVICE IS SOUGHT

- ATTACH A NOTICE TO THE FRIDGE “DO NOT USE”

- RESET THE THERMOMETER AND CHECK AGAIN IN ONE HOUR

- ESTIMATE HOW LONG TEMPERATURE HAS BEEN OUT OF RANGE

- LIST ALL ITEMS AFFECTED

- CONTACT PHARMACY PROVIDER FOR ADVICE

- IF STOCK IS UNSUITABLE FOR USE DISCARD FOLLOWING CARE HOME PROTOCOLS

- CONTACT GP TO REQUEST REPLACEMENT MEDICINES IF REQUIRED

- CHECK FRIDGE AND CALL MAINTENANCE ENGINGEER IF NECESSARY

- RECORD ALL ACTION TAKEN ON FRIDGE TEMPERATURE MONITORING FORM

ENSURE THAT ALL STAFF AWARE OF WHAT TO DO IN THE EVENT OF THE FRIDGE TEMPERATURE BEING OUT OF RANGE (BELOW 2°C OR ABOVE 8°C)