Check list – Portable Vaccine Carrier (plug-in) v2

Name of trainee:                              Name of trainer:                                          Date:

- The portable vaccine carrier is designed for temporary temperature control during transit or short-term use only and is not designed to be continuously used for long periods or for permanent storage. Please note the carrier will not hold temperature when not connected to a power source.

- It is supplied with both a mains and in car power cable that can be plugged into a 12V DC cigarette lighter.

- There is an easy-to-read digital temperature display on the front of the vaccine carrier so that you can always check that the vaccines inside are maintained within +2˚˚ C to +8˚C during transit.

- A data loggers must be placed in the vaccine porter when in use for continuous temperature monitoring.

- The data collected is downloadable via the Log Tag Analyser app. IT will need to be contacted to download the application to your device https://logtagrecorders.com/software/lta3/download/

| Task | Trainee sign | Trainer sign |
| --- | --- | --- |
| Switching on the portable vaccine carrier |  |  |
| Waiting for the temperature to become stable before packing with vaccine |  |  |
| Setting the data logger |  |  |
| Transporting the vaccine in a vehicle |  |  |
| Transporting the portable vaccine carrier from a vehicle into the venue |  |  |
| Attaching the portable vaccine carrier to a power source immediately on arrival at the venue |  |  |
| Monitoring the portable vaccine carrier temperature during the day (manually record temperature am/midday/pm) |  |  |
| At the end of the vaccination session, on return to the VC , downloading the data logger data and saving the data in the appropriate electronic folder |  |  |
| Able to check the log tag data, identify a where a cold chain breach may have occurred and understands the process for reporting a failure in the cold chain. |  |  |
| Switching off the portable vaccine carrier at the end of a session |  |  |

NB. Any vaccine returned unused from a community setting must be crossed to indicate it has been removed from base prior to returning to the base refrigerator. Providing that there is evidence to support maintenance of the cold chain e.g., a data logger download, then the vaccine can be placed back into the front of the fridge to be used.

All teams must ensure that they take an empty vaccine porter lined with cool packs each day into a community setting in case of an emergency e.g., failure of the portable vaccine carrier. The vaccine porter will be validated for 8 hours post packing and must not be opened during the session, unless for an emergency. Ensure that the cold chain expiry time is written on an address label and attached to the lid of the vaccine porter (8 hours post-packing with cool packs).