The temperature must be between +2°C and +8°C. If the temperature is outside the recommended range, take action as stated in the disruption of cold chain section of this SOP. Remember: Read, Record, Reset, Recheck and React.

Record of daily monitoring of medication refrigerators

Department___________________

Month____________ Year_______

FOR ADVICE CONTACT MEDICINES MANAGEMENT ON 01874 712641 OR IF OUT OF HOURS CONTACT SUPPLYING HOSPITAL PHARMACY (NB. Medicine / Vaccine fridges must contain a data logger)

| Date | Time | Temperature Load / Air |  |  | Reset (tick when reset to actual temp) | Any Temp (Actual, Min or Max) outside recommended range? (please circle) | Temperature Rechecked after ONE hour |  |  | Action if any temperature outside normal range (PTO if necessary) | Signature |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Actual | Min | Max |  |  | Actual | Min | Max |  |  |
| 1 |  |  |  |  |  | Yes No |  |  |  |  |  |
| 2 |  |  |  |  |  | Yes No |  |  |  |  |  |
| 3 |  |  |  |  |  | Yes No |  |  |  |  |  |
| 4 |  |  |  |  |  | Yes No |  |  |  |  |  |
| 5 |  |  |  |  |  | Yes No |  |  |  |  |  |
| 6 |  |  |  |  |  | Yes No |  |  |  |  |  |
| 7 |  |  |  |  |  | Yes No |  |  |  |  |  |
| 8 |  |  |  |  |  | Yes No |  |  |  |  |  |
| 9 |  |  |  |  |  | Yes No |  |  |  |  |  |
| 10 |  |  |  |  |  | Yes No |  |  |  |  |  |
| 11 |  |  |  |  |  | Yes No |  |  |  |  |  |
| 12 |  |  |  |  |  | Yes No |  |  |  |  |  |
| 13 |  |  |  |  |  | Yes No |  |  |  |  |  |
| 14 |  |  |  |  |  | Yes No |  |  |  |  |  |
| 15 |  |  |  |  |  | Yes No |  |  |  |  |  |
| 16 |  |  |  |  |  | Yes No |  |  |  |  |  |
| 17 |  |  |  |  |  | Yes No |  |  |  |  |  |

| 18 |  |  |  |  |  | Yes No |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 19 |  |  |  |  |  | Yes No |  |  |  |  |  |
| 20 |  |  |  |  |  | Yes No |  |  |  |  |  |
| 21 |  |  |  |  |  | Yes No |  |  |  |  |  |
| 22 |  |  |  |  |  | Yes No |  |  |  |  |  |
| 23 |  |  |  |  |  | Yes No |  |  |  |  |  |
| 24 |  |  |  |  |  | Yes No |  |  |  |  |  |
| 25 |  |  |  |  |  | Yes No |  |  |  |  |  |
| 26 |  |  |  |  |  | Yes No |  |  |  |  |  |
| 27 |  |  |  |  |  | Yes No |  |  |  |  |  |
| 28 |  |  |  |  |  | Yes No |  |  |  |  |  |
| 29 |  |  |  |  |  | Yes No |  |  |  |  |  |
| 30 |  |  |  |  |  | Yes No |  |  |  |  |  |
| 31 |  |  |  |  |  | Yes No |  |  |  |  |  |

Re: MIUs/Birthing units/Theatres – when these areas are not staffed, this MUST be recorded on the above log  N.B. If unit is not staffed for more than two consecutive days an arrangement  MUST be made to perform a check on the third day.

| Date | Time | Comments (use more than one line if necessary) | Signature |
| --- | --- | --- | --- |