This fridge contains temperature sensitive medicines and vaccines.  The temperature must always be between 2°C and 8°C

Read......Record…...Reset.......Recheck…...React......

# Read

Take daily readings of the thermometer’s actual, minimum and maximum  temperatures.

# Record

Record temperatures in a standard way on the standard form and sign each entry on the recording sheet

# Reset

Reset the thermometer after each reading. Also reset the thermometer when temperatures stabilise after periods of high activity (loading or unloading the fridge).

## Recheck

Recheck the temperature after ONE hour if out of range temperature then read, record, reset and react.

# React

The person making the recording must take immediate action if any temperature falls out of the range 2°C to 8°C. See disruption of cold chain guidance in Powys SOP for Safe & Secure Management of Refrigerated Medicines and Vaccines. The action(s) taken must be documented and should include contacting Medicines Management 01874 712641

# If the fridge fails

Keep the door closed and locked if possible. This will keep the contents cool and quarantine them.

DO NOT STORE FOOD DRINK OR CLINICAL SPECIMENS IN THIS FRIDGE