## ALL Categories
Manufacturer | Type Of Device |  |  |  |  | NOTE:
Brand | Category | Equipment Type | Site (e.g. Bronllys Hospital, Block Name, Room No ) | Status Date | Which disposable bacterial / Viral filter is being used
Caire | Oxygen Concentrator | Oxygen Concentrator | Bronllys - Bro 06 00 009 | 2023-10-01 |  | Column D - as a base, yes. However, clinics are held in a hub and spoke model and so equipment is often rotated all over PTHB, with clinics being performed at all
Intermedical MIR | Spirometers | Spirometer | Bronllys - Bro 06 00 009 | 2023-10-01
Intermedical MIR | Spirometers | Spirometer | Llanidloes - Michelle Watson | 2023-10-01 |  | Column F - Which disposable bacterial/viral filter is being used – manufacturer recommended filters (not after market makes)
Vitalograph | Spirometers | Spirometer | Machynlleth OPD | 2023-10-01
Vitalograph | Spirometers | Spirometer | Bronllys - Bro 06 00 009 | 2023-10-01
Vitalograph | Spirometers | Spirometer | Michelle Watson - GI/Llandod | 2023-10-01
Vitalograph | Spirometers | Spirometer | Newtown OPD | 2023-10-01
Vitalograph | Spirometers | Spirometer | Welshpool OPD | 2023-10-01
Vitalograph | Spirometers | Spirometer | Llanidloes OPD | 2023-10-01
Vitalograph | Spirometers | Spirometer | Ystrad OPD | 2023-10-01
Vitalograph | Spirometers | Spirometer | Bronllys - Bro 06 00 009 | 2023-10-01
Vitalograph | Spirometers | Spirometer | Bronllys - Bro 06 00 009 | 2023-10-01
Vitalograph | Spirometers | Spirometer | Bronllys - Bro 06 00 009 | 2023-10-01
Vitalograph | Spirometers | Spirometer | Bronllys - Bro 06 00 009 | 2023-10-01
Vitalograph | Spirometers | Spirometer | Bronllys - Bro 06 00 009 | 2023-10-01
Vitalograph | Spirometers | Spirometer | Bronllys - Bro 06 00 009 | 2023-10-01
Vitalograph | Spirometers | Spirometer | Bronllys - Bro 06 00 009 | 2023-10-01
Vitalograph | Syringes | Calibration Syringe | Bronllys - Bro 06 00 009 | 2023-10-01
Carefusion | Syringes | Calibration Syringe | Bronllys - Bro 06 00 009 | 2023-10-01
Carefusion | Syringes | Calibration Syringe | Bronllys - Bro 06 00 009 | 2023-10-01
Carefusion | Syringes | Calibration Syringe | Bronllys - Bro 06 00 009 | 2023-10-01
Carefusion | Syringes | Calibration Syringe | Bronllys - Bro 06 00 009 | 2023-10-01
Vitalograph | Syringes | Calibration Syringe | Llanidloes OPD | 2023-10-01
Vyaire | Syringes | Calibration Syringe | Bronllys - Bro 06 00 009 | 2023-10-01
Intermedical MIR | Syringes | Calibration Syringe | Llanidloes - Michelle Watson | 2023-10-01
Vitalograph | Syringes | Calibration Syringe | Llanidloes - Michelle Watson | 2023-10-01
| Syringes | Calibration Syringe | Machynlleth OPD | 2023-10-01
Vitalograph | Syringes | Calibration Syringe | Newtown OPD | 2023-10-01
| Syringes | Calibration Syringe | Ystrad OPD | 2023-10-01
| Syringes | Calibration Syringe | Welshpool OPD | 2023-10-01
Viatom | Wrist Worn Pulse Oximeter with Thumb Ring probe | Pulse Oximeter | Bronllys - Bro 06 00 009 | 2023-10-01
Viatom | Wrist Worn Pulse Oximeter with Thumb Ring probe | Pulse Oximeter | Bronllys - Bro 06 00 009 | 2023-10-01
Viatom | Wrist Worn Pulse Oximeter with Thumb Ring probe | Pulse Oximeter | Bronllys - Bro 06 00 009 | 2023-10-01
Viatom | Wrist Worn Pulse Oximeter with Thumb Ring probe | Pulse Oximeter | Bronllys - Bro 06 00 009 | 2023-10-01
Viatom | Wrist Worn Pulse Oximeter with Thumb Ring probe | Pulse Oximeter | Bronllys - Bro 06 00 009 | 2023-10-01
Viatom | Wrist Worn Pulse Oximeter with Thumb Ring probe | Pulse Oximeter | Bronllys - Bro 06 00 009 | 2023-10-01
Viatom | Wrist Worn Pulse Oximeter with Thumb Ring probe | Pulse Oximeter | Bronllys - Bro 06 00 009 | 2023-10-01
Viatom | Wrist Worn Pulse Oximeter with Thumb Ring probe | Pulse Oximeter | Bronllys - Bro 06 00 009 | 2023-10-01
Viatom | Wrist Worn Pulse Oximeter with Thumb Ring probe | Pulse Oximeter | Bronllys - Bro 06 00 009 | 2023-10-01
Viatom | Wrist Worn Pulse Oximeter with Thumb Ring probe | Pulse Oximeter | Bronllys - Bro 06 00 009 | 2023-10-01
Viatom | Wrist Worn Pulse Oximeter with Thumb Ring probe | Pulse Oximeter | Bronllys - Bro 06 00 009 | 2023-10-01
Viatom | Wrist Worn Pulse Oximeter with Thumb Ring probe | Pulse Oximeter | Bronllys - Bro 06 00 009 | 2023-10-01
Viatom | Wrist Worn Pulse Oximeter with Thumb Ring probe | Pulse Oximeter | Bronllys - Bro 06 00 009 | 2023-10-01
Anker | This is a charger to fill the batteries of the Viatom checkme devices | USB Charger | Bronllys - Bro 06 00 009 | 2023-10-01
ResMed | Sleep Study Equipment | Sleep Study | Bronllys - Bro 06 00 009 | 2023-10-01
ResMed | Sleep Study Equipment | Sleep Study | Bronllys - Bro 06 00 009 | 2023-10-01
ResMed | Sleep Study Equipment | Sleep Study | Bronllys - Bro 06 00 009 | 2023-10-01
ResMed | Sleep Study Equipment | Sleep Study | Bronllys - Bro 06 00 009 | 2023-10-01
ResMed | Sleep Study Equipment | Sleep Study | Bronllys - Bro 06 00 009 | 2023-10-01
Bedfont | Breath Analyzer | CO monitor | Bronllys - Bro 06 00 009 | 2023-10-01
Bedfont | Airways analyzer | FeNO monitor | Bronllys - Bro 06 00 009 | 2023-10-01
Bedfont | Airways analyzer | FeNO monitor dock | Bronllys - Bro 06 00 009 | 2023-10-01
Welch Allyn | Thermometer Clinical | Thermometer | Bronllys - Bro 06 00 009 | 2023-10-01
| Fingertip Pulse Oximeter | Pulse Oximeter | Bronllys - Bro 06 00 009 | 2023-10-01
| Fingertip Pulse Oximeter | Pulse Oximeter | Bronllys - Bro 06 00 009 | 2023-10-01
Resmed | APAP Device |  | Bronllys - Bro 06 00 009 | 2023-10-01
Phillips | APAP Device |  | Bronllys - Bro 06 00 009 | 2023-10-01
Phillips | APAP Device |  | Bronllys - Bro 06 00 009 | 2023-10-01
Phillips | APAP Device |  | Bronllys - Bro 06 00 009 | 2023-10-01
Phillips | APAP Device |  | Bronllys - Bro 06 00 009 | 2023-10-01
Visi | Sleep Study Device |  | Bronllys - Bro 06 00 009 | 2023-10-01
Abbott | Blood gas analyser | Blood gas analyser | Bronllys - Bro 06 00 009 | 2023-10-01
Vyaire | Body plethysmograph | Lung Function Kit | Bronllys - Bro 06 00 009 | 2023-10-01
Vyaire | Body plethysmograph | Lung Function Kit | Bronllys - Bro 06 00 009 | 2023-10-01